## ASSET_MASTER
Asset_ID | Asset_Name | Department | Location | Capacity | Make | Model | Installation_Date | Status | Criticality
CP/GF/GIS/SF6-4 | SF6 Main Incomer Lilo Bay (F04) | ELECTRICAL | T-A GF | (66KV)1250A | SIEMENS | JXN31274428F04 | 2018 | Active | High
CP/GF/GIS/SF6-1 | SF6 Main Incomer Bay (F01) | ELECTRICAL | T-A GF | (66KV)1250A | SIEMENS | JXN31274429F01 | 2018 | Active | High
CP/GF/GIS/SF6-2 | SF6 Transformer Bay (F02) | ELECTRICAL | T-A GF | (66KV)1250A | SIEMENS | JXN31274430F02 | 2018 | Active | High
CP/GF/GIS/SF6-3 | SF6 Transformer Bay (F03) | ELECTRICAL | T-A GF | (66KV)1250A | SIEMENS | JXN31274431F03 | 2018 | Active | High
CP/B4/DG-1 | DG NO-1 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG-2 | DG NO-2 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG-3 | DG NO-3 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG-4 | DG NO-4 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG-5 | DG NO-5 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG-6 | DG NO-6 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG-7 | DG NO-7 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG-8 | DG NO-8 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG-9 | DG NO-9 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG-10 | DG NO-10 | ELECTRICAL | T-ABasement-4DG Room | 2875HP | CUMMINS | QSK-60-G-8 | 2019 | Active | High
CP/B4/DG ALTR-1 | DG Alternator-1 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S1 | 2019 | Active | High
CP/B4/DG ALTR-2 | DG Alternator-2 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S2 | 2019 | Active | High
CP/B4/DG ALTR-3 | DG Alternator-3 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S3 | 2019 | Active | High
CP/B4/DG ALTR-4 | DG Alternator-4 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S4 | 2019 | Active | High
CP/B4/DG ALTR-5 | DG Alternator-5 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S5 | 2019 | Active | High
CP/B4/DG ALTR-6 | DG Alternator-6 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S6 | 2019 | Active | High
CP/B4/DG ALTR-7 | DG Alternator-7 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S7 | 2019 | Active | High
CP/B4/DG ALTR-8 | DG Alternator-8 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S8 | 2019 | Active | High
CP/B4/DG ALTR-9 | DG Alternator-9 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S9 | 2019 | Active | High
CP/B4/DG ALTR-10 | DG Alternator-10 | ELECTRICAL | T-ABasement-4DG Room | 2500KVA | CUMMINS | FRAME/CORE-HVS1804S10 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-01 | DG Battery charger-1 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 181118000030101 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-02 | DG Battery charger-2 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 181118000080101 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-03 | DG Battery charger-3 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 181118000020101 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-04 | DG Battery charger-4 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 181118000060101 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-05 | DG Battery charger-5 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 181118000090101 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-06 | DG Battery charger-6 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 181118000040101 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-07 | DG Battery charger-7 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 811180000100101 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-08 | DG Battery charger-8 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 181118000010101 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-09 | DG Battery charger-9 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 181118000050101 | 2019 | Active | High
CP/B4-DG/BTRY-CHRGR-10 | DG Battery charger-10 | ELECTRICAL | T-ABasement-4DG Room | 24V DC/50A / | AMARA RAJA | 181118000070101 | 2019 | Active | High
CP/TERRACE/DG CT-1 | DG cooling tower-1 | ELECTRICAL | T-ATerraceNA | 500TR | BELL |  | 2018 | Active | High
CP/TERRACE/DG CT-2 | DG cooling tower-2 | ELECTRICAL | T-ATerraceNA | 500TR | BELL |  | 2018 | Active | High
CP/TERRACE/DG CT-3 | DG cooling tower-3 | ELECTRICAL | T-ATerraceNA | 500TR | BELL |  | 2018 | Active | High
CP/TERRACE/DG CT-4 | DG cooling tower-4 | ELECTRICAL | T-ATerraceNA | 500TR | BELL |  | 2018 | Active | High
CP/TERRACE/DG CT-5 | DG cooling tower-5 | ELECTRICAL | T-ATerraceNA | 500TR | BELL |  | 2018 | Active | High
CP/TERRACE/CT MTR-1 | DG cooling tower motor-1 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-8387 | 2018 | Active | High
CP/TERRACE/CT MTR-2 | DG cooling tower motor-2 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-8386 | 2018 | Active | High
CP/TERRACE/CT MTR-3 | DG cooling tower motor-3 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-7426 | 2018 | Active | High
CP/TERRACE/CT MTR-4 | DG cooling tower motor-4 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-7429H | 2018 | Active | High
CP/TERRACE/CT MTR-5 | DG cooling tower motor-5 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-7422H | 2018 | Active | High
CP/TERRACE/CT MTR-6 | DG cooling tower motor-6 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-7428 | 2018 | Active | High
CP/TERRACE/CT MTR-7 | DG cooling tower motor-7 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-7427H | 2018 | Active | High
CP/TERRACE/CT MTR-8 | DG cooling tower motor-8 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-8389H | 2018 | Active | High
CP/TERRACE/CT MTR-9 | DG cooling tower motor-9 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-7424H | 2018 | Active | High
CP/TERRACE/CT MTR-10 | DG cooling tower motor-10 | ELECTRICAL | T-ATerraceNA | 7.5KW/10HP | NEW INDIA | M/C NO.-8390H | 2018 | Active | High
CP/B4/CT PMP1 | CT Water circulation Pump-1 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 49359 | 2018 | Active | High
CP/B4/CT PMP2 | CT Water circulation Pump-2 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 42665 | 2018 | Active | High
CP/B4/CT PMP-3 | CT Water circulation Pump-3 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 49367 | 2018 | Active | High
CP/B4/CT PMP4 | CT Water circulation Pump-4 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 42655 | 2018 | Active | High
CP/B4/CT PMP5 | CT Water circulation Pump-5 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 42653 | 2018 | Active | High
CP/B4/CT PMP6 | CT Water circulation Pump-6 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 49354 | 2018 | Active | High
CP/B4/CT PMP7 | CT Water circulation Pump-7 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 49366 | 2018 | Active | High
CP/B4/CT PMP8 | CT Water circulation Pump-8 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 42651 | 2018 | Active | High
CP/B4/CT PMP9 | CT Water circulation Pump-9 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 42652 | 2018 | Active | High
CP/B4/CT PMP10 | CT Water circulation Pump-10 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 42654 | 2018 | Active | High
CP/B4/CT PMP11 | CT Water circulation Pump-11 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 42655 | 2018 | Active | High
CP/B4/CT PMP12 | CT Water circulation Pump-12 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 42657 | 2018 | Active | High
CP/B4/CT PMP13 | CT Water circulation Pump-13 | ELECTRICAL | T-ABasement-4NA | 25 HP | Crompton Greaves | 49358 | 2018 | Active | High
CP/B2/AW-1 | Air washer-1 | VENTILATION | T-ABasement-2Air Washer Room | 93000CFM/25HP | WAVES | WDSAWU-930 | 2018 | Active | High
CP/B2/AW-2 | Air washer-2 | VENTILATION | T-ABasement-2Air Washer Room | 93000CFM/25HP | WAVES | WDSAWU-930 | 2018 | Active | High
CP/B2/AW-3 | Air washer-3 | VENTILATION | T-ABasement-2Air Washer Room | 93000CFM/25HP | WAVES | WDSAWU-930 | 2018 | Active | High
CP/B2/AW-4 | Air washer-4 | VENTILATION | T-ABasement-3Air Washer Room | 93000CFM/25HP | WAVES | WDSAWU-930 | 2018 | Active | High
CP/B2/AW-5 | Air washer-5 | VENTILATION | T-ABasement-3Air Washer Room | 93000CFM/25HP | WAVES | WDSAWU-930 | 2018 | Active | High
CP/B3/AW-6 | Air washer-6 | VENTILATION | T-ABasement-3Air Washer Room | 93000CFM/25HP | WAVES | WDSAWU-930 | 2018 | Active | High
CP/B3/AW-7 | Air washer-7 | VENTILATION | T-ABasement-3Air Washer Room | 93000CFM/25HP | WAVES | WDSAWU-930 | 2018 | Active | High
CP/B-4/UTILITY/CH-1 | Chiller No-1 | HVAC | T-ABasement-4HVAC Plant Room | 872.5KW/1300 TR | York | 6-2018/ YKMBMSK25DCG | 2019 | Active | High
CP/B-4/UTILITY/CH-2 | Chiller No-2 | HVAC | T-ABasement-4HVAC Plant Room | 872.5KW/1300 TR | York | 6-2018/ YKMBMSK25DCG | 2019 | Active | High
CP/B-4/UTILITY/CH-3 | Chiller No-3 | HVAC | T-ABasement-4HVAC Plant Room | 872.5KW/1300 TR | York | 6-2018/ YKMBMSK25DCG | 2019 | Active | High
CP/B-4/UTILITY/CH-4 | Chiller No-4 | HVAC | T-ABasement-4HVAC Plant Room | 872.5KW/1300 TR | York | 6-2018/ YKMBMSK25DCG | 2019 | Active | High
CP/B-4/UTILITY/CH-5 | Chiller No-5 | HVAC | T-ABasement-4HVAC Plant Room | 872.5KW/1300 TR | York | 57062B56727297 | 2025 | Active | High
CP/B-4/UTILITY/CNDWPMP-1 | Condensor Water Pump -1 | HVAC | T-ABasement-4HVAC Plant Room | 75KW/100HP | Xylem | C-1018 | 2018 | Active | High
CP/B-4/UTILITY/CNDWPMP-2 | Condensor Water Pump -2 | HVAC | T-ABasement-4HVAC Plant Room | 75KW/100HP | Xylem | C-1218 | 2018 | Active | High
CP/B-4/UTILITY/CNDWPMP-3 | Condensor Water Pump -3 | HVAC | T-ABasement-4HVAC Plant Room | 75KW/100HP | Xylem | K8117 | 2018 | Active | High
CP/B-4/UTILITY/CNDWPMP-4 | Condensor Water Pump -4 | HVAC | T-ABasement-4HVAC Plant Room | 75KW/100HP | Xylem | K0217 | 2018 | Active | High
CP/B-4/UTILITY/CNDWPMP-5 | Condensor Water Pump -5 | HVAC | T-ABasement-4HVAC Plant Room | 75KW/100HP | Xylem | C1318 | 2018 | Active | High
CP/B-4/UTILITY/CHWPPMP-1 | Primary Chilled Water Pump -1 | HVAC | T-ABasement-4HVAC Plant Room | 30KW/40HP | Xylem | C1918 | 2018 | Active | High
CP/B-4/UTILITY/CHWPPMP-2 | Primary Chilled Water Pump -2 | HVAC | T-ABasement-4HVAC Plant Room | 30KW/40HP | Xylem | C1318 | 2018 | Active | High
CP/B-4/UTILITY/CHWPPMP-3 | Primary Chilled Water Pump -3 | HVAC | T-ABasement-4HVAC Plant Room | 30KW/40HP | Xylem | C1618 | 2018 | Active | High
CP/B-4/UTILITY/CHWPPMP-4 | Primary Chilled Water Pump -4 | HVAC | T-ABasement-4HVAC Plant Room | 30KW/40HP | Xylem | C1618 | 2018 | Active | High
CP/B-4/UTILITY/CHWPPMP-5 | Primary Chilled Water Pump -5 | HVAC | T-ABasement-4HVAC Plant Room | 30KW/40HP | Xylem | C1618 | 2018 | Active | High
CP/B-4/UTILITY/CHWSPMP-1 | Secondary Chilled water Pump -1 | HVAC | T-ABasement-4HVAC Plant Room | 90KW/120HP | Xylem | C1218 | 2018 | Active | High
CP/B-4/UTILITY/CHWSPMP-2 | Secondary Chilled water Pump -2 | HVAC | T-ABasement-4HVAC Plant Room | 90KW/120HP | Xylem | C0018 | 2018 | Active | High
CP/B-4/UTILITY/CHWSPMP-3 | Secondary Chilled water Pump -3 | HVAC | T-ABasement-4HVAC Plant Room | 90KW/120HP | Xylem | C1018 | 2018 | Active | High
CP/B-4/UTILITY/CHWSPMP-4 | Secondary Chilled water Pump -4 | HVAC | T-ABasement-4HVAC Plant Room | 90KW/120HP | Xylem | C0918 | 2018 | Active | High
CP/B-4/UTILITY/CHWSPMP-5 | Secondary Chilled water Pump -5 | HVAC | T-ABasement-4HVAC Plant Room | 90KW/120HP | Xylem | CK0317 | 2018 | Active | High
CP/TERRACE/CH CT-1 | Chiller cooling tower -1 | HVAC | T-ATERRACENA | 1300TR(3900GPM) | Paharpur |  | 2018 | Active | High
CP/TERRACE/CH CT-2 | Chiller cooling tower -2 | HVAC | T-ATERRACENA | 1300TR(3900GPM) | Paharpur |  | 2018 | Active | High
CP/TERRACE/CH CT-3 | Chiller cooling tower -3 | HVAC | T-ATERRACENA | 1300TR(3900GPM) | Paharpur |  | 2018 | Active | High
CP/TERRACE/CH CT-4 | Chiller cooling tower -4 | HVAC | T-ATERRACENA | 1300TR(3900GPM) | Paharpur |  | 2018 | Active | High
CP/TERRACE/CH CT/ MTR-1 | Chiller Cooling tower Motor-1 | HVAC | T-ATERRACENA | 50HP/37KW | Crompton Greaves | M/C NO. 37KE4 | 2018 | Active | High
CP/TERRACE/CH CT/ MTR-2 | Chiller Cooling tower Motor-2 | HVAC | T-ATERRACENA | 50HP/37KW | Crompton Greaves | M/C NO. 37KE4 | 2018 | Active | High
CP/TERRACE/CH CT/ MTR-3 | Chiller Cooling tower Motor-3 | HVAC | T-ATERRACENA | 50HP/37KW | Crompton Greaves | M/C NO. 37KE4 | 2018 | Active | High
CP/TERRACE/CH CT/ MTR-4 | Chiller Cooling tower Motor-4 | HVAC | T-ATERRACENA | 50HP/37KW | Crompton Greaves | M/C NO. 37KE4 | 2018 | Active | High
CP/TERRACE/CH CT/ MTR-5 | Chiller Cooling tower Motor-5 | HVAC | T-ATERRACENA | 50HP/37KW | Crompton Greaves | M/C NO. 37KE4 | 2018 | Active | High
CP/TERRACE/CH CT/ MTR-6 | Chiller Cooling tower Motor-6 | HVAC | T-ATERRACENA | 50HP/37KW | Crompton Greaves | M/C NO. 37KE4 | 2018 | Active | High
CP/TERRACE/CH CT/ MTR-7 | Chiller Cooling tower Motor-7 | HVAC | T-ATERRACENA | 50HP/37KW | Crompton Greaves | M/C NO. 37KE4 | 2018 | Active | High
CP/TERRACE/CH CT/ MTR-8 | Chiller Cooling tower Motor-8 | HVAC | T-ATERRACENA | 50HP/37KW | Crompton Greaves | M/C NO. 37KE4 | 2018 | Active | High
CP/T-A/PLFT-A | Passenger Lifts- A | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983625 | 2018 | Active | High
CP/T-A/PLFT-B | Passenger Lifts- B | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983626 | 2018 | Active | High
CP/T-A/PLFT-C | Passenger Lifts- C | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983627 | 2018 | Active | High
CP/T-A/PLFT-D | Passenger Lifts- D | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983628 | 2018 | Active | High
CP/T-A/PLFT-E | Passenger Lifts- E | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983629 | 2018 | Active | High
CP/T-A/PLFT-F | Passenger Lifts- F | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983630 | 2018 | Active | High
CP/T-A/PLFT-G | Passenger Lifts- G | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983631 | 2018 | Active | High
CP/T-A/PLFT-H | Passenger Lifts- H | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983632 | 2018 | Active | High
CP/T-A/PLFT-I | Passenger Lifts- I | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983633 | 2018 | Active | High
CP/T-A/PLFT-J | Passenger Lifts- J | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983634 | 2018 | Active | High
CP/T-A/PLFT-K | Passenger Lifts- K | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983635 | 2018 | Active | High
CP/T-A/PLFT-L | Passenger Lifts- L | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983636 | 2018 | Active | High
CP/T-A/PLFT-M | Passenger Lifts-M | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983637 | 2018 | Active | High
CP/T-A/PLFT-N | Passenger Lifts- N | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983638 | 2018 | Active | High
CP/T-A/PLFT-O | Passenger Lifts- O | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983639 | 2018 | Active | High
CP/T-A/PLFT-P | Passenger Lifts-P | LIFT | Tower-AGF to 11th floor | 33.2KW | KONE | 70983680 | 2018 | Active | High
CP/T-A/SLFT-NS | Service Lift-1 North side | LIFT | Tower-AB4 to 11th floor | 17.8KW | OTIS | 52NW8125 | 2018 | Active | High
CP/T-A/SLFT-SS | Service Lift-2 South side | LIFT | Tower-AB4 to 11th floor | 17.8KW | OTIS | 52NW8131 | 2018 | Active | High
CP/T-AB/FLFT-NS | Fire Lift-North Side | LIFT | Tower-A-BG.F to B4 | 17.8KW | OTIS | 52NW8126 | 2018 | Active | High
CP/T-AB/FLFT-SS | Fire Lift-South Side | LIFT | Tower-A-BG.F to B4 | 17.8KW | OTIS | 52NW8129 | 2018 | Active | High
CP/T-AB/SHUT LFT-20 | Shuttle Lift-20 | LIFT | Tower-A-BG.F to B3 | 12.7KW | OTIS | 52NW8130 | 2018 | Active | High
CP/T-AB/SHUT LFT-21 | Shuttle Lift-21 | LIFT | Tower-A-BG.F to B4 | 12.7KW | OTIS | 52NW8136 | 2018 | Active | High
CP/T-AB/SHUT LFT-22 | Shuttle Lift-22 | LIFT | Tower-A-BG.F to B4 | 12.7KW | OTIS | 52NW8127 | 2018 | Active | High
CP/T-AB/SHUT LFT-23 | Shuttle Lift-23 | LIFT | Tower-A-BG.F to B3 | 12.7KW | OTIS | 52NW8133 | 2018 | Active | High
CP/T-AB/SHUT LFT-24 | Shuttle Lift-24 | LIFT | Tower-A-BG.F to B4 | 12.7KW | OTIS | 52NW8137 | 2018 | Active | High
CP/T-AB/SHUT LFT-25 | Shuttle Lift-25 | LIFT | Tower-A-BG.F to B4 | 12.7KW | OTIS | 52NW8138 | 2018 | Active | High
CP/T-B/PLFT-A | Passenger Lifts- A | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-B | Passenger Lifts- B | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-C | Passenger Lifts- C | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-D | Passenger Lifts- D | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-E | Passenger Lifts- E | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-F | Passenger Lifts- F | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-G | Passenger Lifts- G | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-H | Passenger Lifts- H | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-I | Passenger Lifts- I | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-J | Passenger Lifts- J | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-K | Passenger Lifts- K | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-L | Passenger Lifts- L | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-M | Passenger Lifts-M | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-N | Passenger Lifts- N | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-O | Passenger Lifts- O | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-P | Passenger Lifts-P | LIFT | Tower-BGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/SLFT-NS | Service Lift-North side | LIFT | Tower-BB4 to 12th floor | 17.8KW | OTIS | 52NW8128 | 2018 | Active | High
CP/T-B/SLFT-SS | Service Lift-Sooth Side | LIFT | Tower-BB4 to 12th floor | 17.8KW | OTIS | 52NW8135 | 2018 | Active | High
CP/T-B/PLFT-A | Passenger Lifts- A | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-B | Passenger Lifts- B | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE | 70983732 | 2018 | Active | High
CP/T-B/PLFT-C | Passenger Lifts- C | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE | 70983733 | 2018 | Active | High
CP/T-B/PLFT-D | Passenger Lifts- D | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE | 70983734 | 2018 | Active | High
CP/T-B/PLFT-E | Passenger Lifts- E | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-F | Passenger Lifts- F | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-G | Passenger Lifts- G | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-H | Passenger Lifts- H | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-I | Passenger Lifts- I | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-J | Passenger Lifts- J | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-K | Passenger Lifts- K | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-L | Passenger Lifts- L | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-M | Passenger Lifts-M | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-N | Passenger Lifts- N | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-O | Passenger Lifts- O | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-B/PLFT-P | Passenger Lifts-P | LIFT | Tower-CGF to 12th floor | 33.2KW | KONE |  | 2018 | Active | High
CP/T-C/SLFT-NS | Service Lift-North side | LIFT | Tower-CB4 to 12th floor | 17.8KW | OTIS | 52NW8139 | 2018 | Active | High
CP/T-C/SLFT-SS | Service Lift-Sooth Side | LIFT | Tower-CB4 to 12th floor | 17.8KW | OTIS | 52NW8140 | 2018 | Active | High
CP/T-BC/SLFT-NS | Fire Lift-North Side | LIFT | Tower-B-CB4 to 12th floor | 17.8KW | OTIS | 52NW8132 | 2018 | Active | High
CP/T-BC/SLFT-SS | Fire Lift-South Side | LIFT | Tower-B-CB4 to 12th floor | 17.8KW | OTIS | 52NW8141 | 2018 | Active | High
CP/T-BC/SHUT LFT-20 | Shuttle Lift-20 | LIFT | Tower-B-CG.F to B3 | 12.7KW | OTIS | 52NW8142 | 2018 | Active | High
CP/T-BC/SHUT LFT-21 | Shuttle Lift-21 | LIFT | Tower-B-CG.F to B4 | 12.7KW | OTIS | 52NW8143 | 2018 | Active | High
CP/T-BC/SHUT LFT-22 | Shuttle Lift-22 | LIFT | Tower-B-CG.F to B4 | 12.7KW | OTIS | 52NW8144 | 2018 | Active | High
CP/T-BC/SHUT LFT-23 | Shuttle Lift-23 | LIFT | Tower-B-CG.F to B3 | 12.7KW | OTIS | 52NW8134 | 2018 | Active | High
CP/T-BC/SHUT LFT-24 | Shuttle Lift-24 | LIFT | Tower-B-CG.F to B4 | 12.7KW | OTIS | 52NW8145 | 2018 | Active | High
CP/T-BC/SHUT LFT-25 | Shuttle Lift-25 | LIFT | Tower-B-CG.F to B4 | 12.7KW | OTIS | 52NW8146 | 2018 | Active | High
CP/T-A/B1/DV-1 | Deluge Valve -1 | FIRE | TOWER-ABasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B1/DV-2 | Deluge Valve -2 | FIRE | TOWER-ABasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B1/DV-3 | Deluge Valve -3 | FIRE | TOWER-ABasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B1/DV-4 | Deluge Valve -4 | FIRE | TOWER-ABasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B2/DV-1 | Deluge Valve -1 | FIRE | TOWER-ABasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B2/DV-2 | Deluge Valve -2 | FIRE | TOWER-ABasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B2/DV-3 | Deluge Valve -3 | FIRE | TOWER-ABasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B2/DV-4 | Deluge Valve -4 | FIRE | TOWER-ABasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B3/DV-1 | Deluge Valve -1 | FIRE | TOWER-ABasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B3/DV-2 | Deluge Valve -2 | FIRE | TOWER-ABasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/B3/DV-3 | Deluge Valve -3 | FIRE | TOWER-ABasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B1/DV-1 | Deluge Valve -1 | FIRE | TOWER-BBasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B1/DV-2 | Deluge Valve -2 | FIRE | TOWER-BBasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B1/DV-3 | Deluge Valve -3 | FIRE | TOWER-BBasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B1/DV-4 | Deluge Valve -4 | FIRE | TOWER-BBasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B2/DV-1 | Deluge Valve -1 | FIRE | TOWER-BBasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B2/DV-2 | Deluge Valve -2 | FIRE | TOWER-BBasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B2/DV-3 | Deluge Valve -3 | FIRE | TOWER-BBasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B2/DV-4 | Deluge Valve -4 | FIRE | TOWER-BBasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B3/DV-1 | Deluge Valve -1 | FIRE | TOWER-BBasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B3/DV-2 | Deluge Valve -2 | FIRE | TOWER-BBasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B3/DV-3 | Deluge Valve -3 | FIRE | TOWER-BBasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B3/DV-4 | Deluge Valve -4 | FIRE | TOWER-BBasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B4/DV-1 | Deluge Valve -1 | FIRE | TOWER-BBasement-4 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B4/DV-2 | Deluge Valve -2 | FIRE | TOWER-BBasement-4 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B4/DV-3 | Deluge Valve -3 | FIRE | TOWER-BBasement-4 |  | HD Fire proction |  | 2018 | Active | High
CP/T-B/B4/DV-4 | Deluge Valve -4 | FIRE | TOWER-BBasement-4 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B1/DV-1 | Deluge Valve -1 | FIRE | TOWER-CBasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B1/DV-2 | Deluge Valve -2 | FIRE | TOWER-CBasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B1/DV-3 | Deluge Valve -3 | FIRE | TOWER-CBasement-1 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B2/DV-1 | Deluge Valve -1 | FIRE | TOWER-CBasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B2/DV-2 | Deluge Valve -2 | FIRE | TOWER-CBasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B2/DV-3 | Deluge Valve -3 | FIRE | TOWER-CBasement-2 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B3/DV-1 | Deluge Valve -1 | FIRE | TOWER-CBasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B3/DV-2 | Deluge Valve -2 | FIRE | TOWER-CBasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B3/DV-3 | Deluge Valve -3 | FIRE | TOWER-CBasement-3 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B4/DV-1 | Deluge Valve -1 | FIRE | TOWER-CBasement-4 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B4/DV-2 | Deluge Valve -2 | FIRE | TOWER-CBasement-4 |  | HD Fire proction |  | 2018 | Active | High
CP/T-C/B4/DV-3 | Deluge Valve -3 | FIRE | TOWER-CBasement-4 |  | HD Fire proction |  | 2018 | Active | High
CP/T-A/GF/FLB-1 | Flap Barrier -1 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-2 | Flap Barrier -2 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-3 | Flap Barrier -3 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-4 | Flap Barrier -4 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-5 | Flap Barrier -5 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-6 | Flap Barrier -6 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-7 | Flap Barrier -7 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-8 | Flap Barrier -8 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-9 | Flap Barrier -9 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-10 | Flap Barrier -10 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/FLB-11 | Flap Barrier -11 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/BMBR-1 | BOOM BARRIER-1 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/BMBR-2 | BOOM BARRIER-2 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/BMBR-3 | BOOM BARRIER-3 | SECURITY | TOWER-AG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-1 | Flap Barrier -1 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-2 | Flap Barrier -2 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-3 | Flap Barrier -3 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-4 | Flap Barrier -4 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-5 | Flap Barrier -5 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-6 | Flap Barrier -6 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-7 | Flap Barrier -7 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-8 | Flap Barrier -8 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-9 | Flap Barrier -9 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-B/GF/FLB-10 | Flap Barrier -10 | SECURITY | TOWER-BG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-1 | Flap Barrier -1 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-2 | Flap Barrier -2 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-3 | Flap Barrier -3 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-4 | Flap Barrier -4 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-5 | Flap Barrier -5 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-6 | Flap Barrier -6 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-7 | Flap Barrier -7 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-8 | Flap Barrier -8 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-9 | Flap Barrier -9 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-10 | Flap Barrier -10 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/FLB-11 | Flap Barrier -11 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/BMBR-4 | BOOM BARRIER-4 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/BMBR-5 | BOOM BARRIER-5 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/BMBR-6 | BOOM BARRIER-6 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-C/GF/BMBR-7 | BOOM BARRIER-7 | SECURITY | TOWER-CG.F |  | GUNNEBO |  | 2019 | Active | High
CP/T-A/GF/BS-1 | BAGGAGE SCANNER | SECURITY | TOWER-AG.F |  | NUCTECH |  | 2019 | Active | High
CP/T-B/GF/BS-2 | BAGGAGE SCANNER | SECURITY | TOWER-BG.F |  | NUCTECH |  | 2019 | Active | High
CP/T-C/GF/BS-3 | BAGGAGE SCANNER | SECURITY | TOWER-CG.F |  | NUCTECH |  | 2019 | Active | High
CP/T-C/GF/BS-4 | BAGGAGE SCANNER-2 (Gate no 2) | SECURITY | TOWER-CG.F |  | NUCTECH |  | 2019 | Active | High
CP/T-C/B3/FSWFPMP-1 | Flushing Soft water feed pump-1 with soft starter |  | TOWER-CTOWER-C,B-3 | 15HP/11KW | EBARA | 10W9V8 | 2019 | Active | High
CP/T-C/B3/FSWFPMP-2 | Flushing Soft water feed pump-2 with soft starter |  | TOWER-CTOWER-C,B-3 | 15HP/11KW | EBARA | 10W9V6 | 2019 | Active | High
CP/T-C/B3/FSWFPMP-3 | Flushing Soft water feed pump-3 with soft starter |  | TOWER-CTOWER-C,B-3 | 15HP/11KW | EBARA | 10W9V6 | 2019 | Active | High
CP/T-C/B3/FSWFPMP-4 | Flushing Soft water feed pump-4 with soft starter |  | TOWER-CTOWER-C,B-3 | 15HP/11KW | EBARA | 10W9V5 | 2019 | Active | High
CP/T-B/B3/FSWFPMP-1 | Flushing Soft water feed pump-1 with soft starter |  | TOWER-CTOWER-C,B-3 | 15HP/11KW | EBARA | 10W9V3 | 2019 | Active | High
CP/T-B/B3/FSWFPMP-2 | Flushing Soft water feed pump-2 with soft starter |  | TOWER-CTOWER-C,B-3 | 15HP/11KW | EBARA | 10W9V4 | 2019 | Active | High
CP/T-B/B3/FSWFPMP-3 | Flushing Soft water feed pump-3 with soft starter |  | TOWER-CTOWER-C,B-3 | 15HP/11KW | EBARA | 10W9V4 | 2019 | Active | High
CP/T-B/B3/FSWFPMP-4 | Flushing Soft water feed pump-4 with soft starter |  | TOWER-CTOWER-C,B-3 | 15HP/11KW | EBARA | 10W9VMM | 2019 | Active | High
CP/T-C/B3/FSWFPMP-1 | Flushing Soft water feed pump-1 with soft starter |  | TOWER-CTOWER-C,B-3STP ROOM | 15HP/11KW | EBARA | 10W9ML | 2019 | Active | High
CP/T-C/B3/FSWFPMP-2 | Flushing Soft water feed pump-2 with soft starter |  | TOWER-CTOWER-C,B-3STP ROOM | 15HP/11KW | EBARA | 10W9MO | 2019 | Active | High
CP/T-C/B3/FSWFPMP-3 | Flushing Soft water feed pump-3 with soft starter |  | TOWER-CTOWER-C,B-3STP ROOM | 15HP/11KW | EBARA | 10W9V2 | 2019 | Active | High
CP/T-C/B3/FSWFPMP-4 | Flushing Soft water feed pump-4 with soft starter |  | TOWER-CTOWER-C,B-3STP ROOM | 15HP/11KW | EBARA | 10W9MP | 2019 | Active | High
CP/T-C/B3/SFPMP-1 | Softner feed pump-1 |  | TOWER-CTower-C ,B-3STP ROOM | 4KW | GRUNDFOS | M05189443 | 2019 | Active | High
CP/T-C/B3/SFPMP-2 | Softner feed pump-2 |  | TOWER-CTower-C ,B-3STP ROOM | 4KW | GRUNDFOS | M05189383 | 2019 | Active | High
CP/T-C/B3/SFPMP-3 | Softner feed pump-3 |  | TOWER-CTower-C ,B-3STP ROOM | 4KW | GRUNDFOS | M05189456 | 2019 | Active | High
CP/T-C/B3/SWTPMP-1 | Soft Water trasfer pump-1 |  | TOWER-CTower-C ,B-3STP ROOM | 22kw | GRUNDFOS | 85U175303118190015 | 2019 | Active | High
CP/T-C/B3/SWTPMP-2 | Soft Water trasfer pump-2 |  | TOWER-CTower-C ,B-3STP ROOM | 22kw | GRUNDFOS | 85U175303118190025 | 2019 | Active | High
CP/T-C/B3/IRPMP-1 | Internal Recycle pump-1 |  | TOWER-CTower-C ,B-3STP ROOM | 9.3kw | SIEMENS | 190330654739 | 2019 | Active | High
CP/T-C/B3/IRPMP-2 | Internal Recycle pump-2 |  | TOWER-CTower-C ,B-3STP ROOM | 9.3kw | SIEMENS | 190330654732 | 2019 | Active | High
CP/T-C/B3/IRPMP-3 | Internal Recycle pump-3 |  | TOWER-CTower-C ,B-3STP ROOM | 9.3kw | SIEMENS | 190330654734 | 2019 | Active | High
CP/T-C/B3/IRPMP-4 | Internal Recycle pump-4 |  | TOWER-CTower-C ,B-3STP ROOM | 9.3kw | SIEMENS | 190330654728 | 2019 | Active | High
CP/T-C/B3/IRRIG/PMP-1 | Irrigation water Pump1 |  | TOWER-CTower-C ,B-3STP ROOM | 5.5KW | GRUNDFOS | M06184260 | 2019 | Active | High
CP/T-C/B3/IRRIG/PMP-2 | Irrigation water Pump 2 |  | TOWER-CTower-C ,B-3STP ROOM | 5.5KW | GRUNDFOS | M06184242 | 2019 | Active | High
CP/T-C/B3/PCWPMP-1 | Permeate Cumb wash pump-1 |  | TOWER-CTower-C ,B-3STP ROOM | 4kw | GRUNDFOS | 18220056 | 2019 | Active | High
CP/T-C/B3/PCWPMP-2 | Permeate Cumb wash pump-2 |  | TOWER-CTower-C ,B-3STP ROOM | 4kw | GRUNDFOS | 18220057 | 2019 | Active | High
CP/T-C/B3/PCWPMP-3 | Permeate Cumb wash pump-3 |  | TOWER-CTower-C ,B-3STP ROOM | 4kw | GRUNDFOS | 18150005 | 2019 | Active | High
CP/T-C/B3/PCWPMP-4 | Permeate Cumb wash pump-4 |  | TOWER-CTower-C ,B-3STP ROOM | 4kw | GRUNDFOS | 18220055 | 2019 | Active | High
CP/T-C/B3/CEB/PMP-1 | CEB pump-1 |  | TOWER-CTower-C ,B-3STP ROOM | 0.87HP/0.65KW | GRUNDFOS |  | 2019 | Active | High
CP/T-C/B3/CEB/PMP-2 | CEB pump-2 |  | TOWER-CTower-C ,B-3STP ROOM | 0.87HP/0.65KW | GRUNDFOS |  | 2019 | Active | High
CP/T-C/B3/VPF/PMP-1 | Volute pressure feed pump-1 |  | TOWER-CTower-C ,B-3STP ROOM | 1.5KW | SIEMENS | 150930567595 | 2019 | Active | High
CP/T-C/B3/PF/PMP-2 | Volute pressure feed pump-2 |  | TOWER-CTower-C ,B-3STP ROOM | 1.5KW | SIEMENS | 150930567597 | 2019 | Active | High
CP/T-C/B3/SRPMP-1 | Sludge Recycle pump-1 |  | TOWER-CTower-C ,B-3STP ROOM | 9.3KW | SIEMENS | 190330654738 | 2019 | Active | High
CP/T-C/B3/SRPMP-2 | Sludge Recycle pump-2 |  | TOWER-CTower-C ,B-3STP ROOM | 9.3KW | SIEMENS | 190330654727 | 2019 | Active | High
CP/T-C/B3/SRPMP-3 | Sludge Recycle pump-3 |  | TOWER-CTower-C ,B-3STP ROOM | 9.3KW | SIEMENS | 190330654730 | 2019 | Active | High
CP/T-C/B3/SRPMP-4 | Sludge Recycle pump-4 |  | TOWER-CTower-C ,B-3STP ROOM | 9.3KW | SIEMENS | 190330654736 | 2019 | Active | High
CP/T-C/B3/ACOMP-1 | Air compresser (MAT)-1 |  | TOWER-CTower-C ,B-3STP ROOM | 5HP/3.7KW | ELGI | 8060013212 | 2019 | Active | High
CP/T-C/B3/ACOMP-2 | Air compresser (MAT)-2 |  | TOWER-CTower-C ,B-3STP ROOM | 5HP/3.7KW | ELGI | 8060013218 | 2019 | Active | High
CP/T-C/B3/ABMTR-1 | Air Blower with motor-1 |  | TOWER-CTower-C ,B-3STP ROOM | 20HP/15KW | SIEMENS | 190330661231 | 2019 | Active | High
CP/T-C/B3/ABMTR-2 | Air Blower with motor-2 |  | TOWER-CTower-C ,B-3STP ROOM | 20HP/15KW | SIEMENS | 190330661477 | 2019 | Active | High
CP/T-C/B3/ABMTR-3 | Air Blower with motor-3 |  | TOWER-CTower-C ,B-3STP ROOM | 20HP/15KW | SIEMENS | 190330661233 | 2019 | Active | High
CP/T-C/B3/ABMTR-4 | Air Blower with motor-4 |  | TOWER-CTower-C ,B-3STP ROOM | 20HP/15KW | SIEMENS | 190330661222 | 2019 | Active | High
CP/T-C/B3/ABMTR-5 | Air Blower with motor-5 |  | TOWER-CTower-C ,B-3STP ROOM | 20HP/15KW | SIEMENS | 190330661197 | 2019 | Active | High
CP/T-C/B3/ABMTR-6 | Air Blower with motor-6 |  | TOWER-CTower-C ,B-3STP ROOM | 20HP/15KW | SIEMENS | 190330661201 | 2019 | Active | High
CP/T-C/B3/ABMTR-7 | Air Blower with motor-7 |  | TOWER-CTower-C ,B-3STP ROOM | 20HP/15KW | SIEMENS | 190330661203 | 2019 | Active | High
CP/T-C/B3/ABMTR-8 | Air Blower with motor-8 |  | TOWER-CTower-C ,B-3STP ROOM | 18.5KW | SIEMENS | 190330661199 | 2019 | Active | High
CP/T-C/B3/ABMTR-9 | Air Blower with motor-9 |  | TOWER-CTower-C ,B-3STP ROOM | 18.5KW | SIEMENS | 190330661227 | 2019 | Active | High
CP/T-C/B3/ABMTR-10 | Air Blower with motor-10 |  | TOWER-CTower-C ,B-3STP ROOM | 18.5KW | SIEMENS | 190330661229 | 2019 | Active | High

## ENERGY_LOG
Date | Asset_ID | kWh | BTU | Diesel_Liters | Cost_per_Unit
2026-01-01 | DLF-0001 | 1200 | 4094400 | 0 | 8.5

## AMC_TRACKING
Asset_ID | Vendor_Name | Contract_Type | Start_Date | Expiry_Date | Contract_Value | Contact_Person
CP/B4/DG-1 | CUMMINS INDIA LTD | AMC | 01.04.25 TO 31.05.2025 |  | 177581.25 | AMC CHARGES OF DG MAINTENANCE FOR THE PERIOD FROM 01.04.25 TO 31.05.2025
CP/B-4/UTILITY/CH-1 | Sigma Power Tech Private limited | AMC | 01.04.25 TO 31.05.2025 |  | 64166.66 | Non comprehensive AMC of chiller plant manager for operations of chiller plants as per the requirement provided y the opertaion team. Dated 01.04.25 TO 31.05.2025
CP/T-A/PLFT-A | KONE ELEVATOR INDIA PVT LTD | AMC | 01.04.25 TO 31.05.2025 |  | 1935398.66
CP/GF/GIS/SF6-1 | NOUS TECHINDIA POWER CONTROL CO | AMC | 01.04.25 TO 31.05.2025 |  | 79825

## ATTENDANCE
Employee_ID | Employee_Name | Department | Login_Time | Logout_Time
EMP-001 | Ravi Kumar | HVAC | 2026-01-01 09:00:00 | 2026-01-01 18:00:00

## MAINTENANCE_LOG
Date | Asset_ID | Work_Type | Description | Downtime_Hours | Action_Taken | Done_By | OEM_Involved
2026-01-05 | DLF-0001 | Preventive | Monthly filter cleaning | 0.5 | Filters cleaned and inspected | EMP-001 | No

## COMPLIANCE_TRACKER
Asset_ID | Compliance_Type | Certificate_Number | Issue_Date | Expiry_Date | Authority | Status
DLF-0001 | Fire NOC | FIRE-2026-001 | 2025-12-01 | 2026-12-01 | Haryana Fire Dept | Valid